## Sheet1
Original Name | DWER Name | DWER Units | Conversion | Type
'Salinity (PSU)' | Salinity | PSU | 1 | Physical
'Temperature Â®' | Temperature | deg C | 1 | Physical
'Conductivity (mS/cm)' | Cond uncomp | mS/cm | 1 | Physical
'Cond uncomp (uS/cm)' | Cond uncomp | uS/cm | 1 | Physical
'Density (kg/m3)' | Density | kg/m3 | 1 | Physical
'DO (mg/L)' | O2-(DO conc) | mg/L | 1 | Physical
'DO %' | O2-(DO %sat) | % | 1 | Physical
'pH' | pH | no Units | 1 | Physical
'NTU' | Turbidity (NTU) | NTU | 1 | Physical
'Fluorescence (Volts)' | Chl a insitu (V) | Volts | 1 | Plant Pigments
'Light attenuation (m-1)' | Coeff of light attenuation | per m | 1 | Physical
'Secchi depth (m)' | Secchi depth | m | 1 | Physical
'TSS (mg/L)' | Suspended Solids (Total) {TSS} | mg/L | 1 | Physical